Transparent Protocol of Decoder

Regulation Instruction

- Code Address

[Address]

Address01=01

Address02=02

Address03=03

Address04=04

Address05=05

Address06=06

Address07=07

Address08=08

Address09=09

Address10=0A

Address11=0B

Address12=0C

Address13=0D

Address14=0E

Address15=0F

- Cammand of PTZ Control

[CtrlCode]

Up_Start=%100,02,^,01,04,00,+5          				:Up（Dragon.cod）

Up_Start=%100,A0,^,00,00,08,00,27,00,FF,AF,-2.3.4.5.6.7.8.9	:Down（TOTA B01.cod）

Note：

| Symbol | Parameter | Signification | Instruction |
| --- | --- | --- | --- |
| % | n | mod | Fetch the mould to the checking value Example：%100 |
| ~ | n | minus | Minus the checking value |
| M | n | and | Do and operation on the checking value |
| + | n 2.3.4.5 | Check-sum | n: Put preceding n number summation in standard 2.3.4.5：The 2~4th number summation of the order(Counting begins from 1) Example: Up_Start=%100,02,^,01,04,00,+5 02,^,01,04,00Add |
| - | n 2.3.4.5 | Check-sum(Reverse) | n: Put preceding n number summation then fetch reverse Add 2~4th number then reverse 2.3.4.5Example:Up_Start=%100,02,^,01,04,00,-5, -5means 02,^,01,04,00 add then reverse |
| = | n | XOR Check value | n: Put preceding n number XOR |
|  | Do“+”“-”“=”firstly,then do “%”“~”“M”. |  |  |
| ^ |  | Decoder Address |  |
| ! |  | PTZ Pre-set Point |  |
| # | n | Spacing interval of continuous instruction | Interval |
| & | n | Send code of spacing interval continuously | The same instruction be sent again after spacing interval, otherwise the PTZ stop automatically |

- Command of PTZ Control

[CmdCode]

SetPoint=%100,A0,^,05,!,00,+5

Instruction

| Number | Command | Instruction |
| --- | --- | --- |
| 1 | Up_Start | PTZ Up |
| 2 | Up_Stop | Stop PTZ Up |
| 3 | Down_Start | PTZ Down |
| 4 | Down_Stop | Stop PTZ Down |
| 5 | Left_Start | PTZ Left |
| 6 | Left_Stop | Stop PTZ Left |
| 7 | Right_Start | PTZ Right |
| 8 | Right_Stop | Stop PTZ Right |
| 9 | Rotation_Start | Auto-start(send Left_Start substitute fot it) |
| 10 | Rotation_Stop | Auto-stop |
| 11 | AADD_Start | Iris + |
| 12 | AADD_Stop | Stop Iris + |
| 13 | ADEC_Start | Iris - |
| 14 | ADEC_Stop | Stop Iris- |
| 15 | FADD_Start | Focus + |
| 16 | FADD_Stop | Stop Focus + |
| 17 | FDEC_Start | Focus- |
| 18 | FDEC_Stop | Stop Focus - |
| 19 | DADD_Start | Zoom+ |
| 20 | DADD_Stop | Stop Zoom + |
| 21 | DDEC_Start | Zoom- |
| 22 | DDEC_Stop | Stop Zoom - |
| 23 | Light_Start | Light On |
| 24 | Light_Stop | Light Off |
| 25 | Rain_Start | Brush Open |
| 26 | Rain_Stop | Brush Close |
| 27 | IO_Star (IO_Stop) | No use temporarily |
| 28 | Track_Start (Track_Stop) | Track Start(No use Temporarily) |
| 29 | SetPoint | Set Pre-set Point |
| 30 | ClearPoin | Purge Pre-set Point |
| 31 | GotoPoint | Call Pre-set Point |

According to the decoder protocol that the producer offered, write the transparent decoder  control  protocol consult the above-mentioned rules, then save it  ". Cod "file, copied it to this route: /Protocol,.under the catalogues. In this way, you  can choose this decoder protocol in the software, realize  controling the front decoder.